site.

DOCUMENTS REQUIRED TO RECEIVE A BUILDING PERMIT:

(All documents will be retained by the Committee for Landscaping, Environmental and Architectural Review for future reference.)

- Site Plan:

  - Accurately depicts the existing centerline elevations across the frontage of the lot and the proposed elevation of the top of the foundation.  Site plan must show that the slope of the driveway meets association guidelines (minimum of 2 percent and maximum of 6 percent) and two (2) feet above seasonal high water levels.  A soil boring indicating depth to the seasonal high water elevation may be required if there is concern about building within the required driveway slope. (see attachment for an example of this site plan.)

  - If the residence is a walk out, the site plan must depict the top of the step foundation elevation in reference to the center line of the road at the site.

- The exterior elevation drawing of all four views of the residence.

- The exterior materials to be used in construction

- The square size, footage and height of the residence

- That the residence is contained within the building envelope

- The landscaping plan

- Outline drawing of the residence, outbuildings and decks in the building envelope of the property

- Sample and color of exterior building materials.  Specifically masonry, siding, trim, stain, garage doors and roofing materials.  When possible actual samples are to be brought to the meeting.  Pictures may be accepted when a sample is not possible.

While interior blue prints may be submitted they are not required.  CLEAR will require an elevation drawing of all four sides of the residence and will be looking for architectural detail on all sides of the residence.  A color rendition of the residence is helpful and encouraged.